| Customer Cross Connection and Backflow Protection Survey |
| --- |
| Name: |
| Company/Organization: |
| Address of Premise Survey Relates to: |
| City: | State: | Zip Code: |
| Phone: | E-mail: |
| Meter No. (Provided on your water bill): | Premise No. (Provided on your water bill): |
| Does this meter service multiple units? Yes ( No ( Type of units: Duplex ( Apartment ( Business ( Mixed Use ( |
| GENERAL WATER USE at your location (other than fire protection) |
| Please check ALL boxes that apply/best describe the use of water at your facility. ( Typical, such as bathrooms, drinking fountains, outside water faucets, household laundry or dishwashing appliances. ( Private well(s) supplying any part of your facility. ( Piped into a manufacturing process. ( Piped into a chemical process. ( Piped, underground lawn sprinkler/irrigation system. ( Piped into a swimming pool. ( Piped into water operated/cooled equipment/appliances/boilers. ( Medical, pathology, research chemical or bacteriological lab. ( Piped into photo processing lab. | Please check ALL types of backflow prevention devices installed on your plumbing system. ( None ( Residential Dual Check (RDC) ( Reduced Pressure Zone Device (RP) ( Double Check Valve (DC) ( Pressure Vacuum Breaker (PVB) ( Other ______________________________ Existing Device Information (if applicable): Manufacturer__________________ Model____________________ Serial #____________________ Size_________ Type: (Circle) RP : DC : PVB : RDC |
| FIRE PROTECTION SERVICES |
| Please check ALL boxes that apply/best describe your fire protection account: ( This account serves private hydrants only (no fire sprinkler system in facility). ( This account serves an installed fire sprinkler system. ( Fire sprinkler system has outside fire department connections for pumping into system. ( Fire sprinkler system contains antifreeze or other chemicals. ( Fire sprinkler system is also supplied by an auxiliary source of water (i.e., pond, reservoir or storage tank). | Please check ALL types of backflow prevention devices installed on your sprinkler system. ( None ( Reduced Pressure Zone Device (RP) ( Reduced Pressure Principle Detector Assembly (RPDA) ( Double Check Valve (DC) ( Double Check Detector Assembly (DCDA) ( Other ______________________________ Existing Device Information (if applicable): Manufacturer__________________ Model____________________ Serial #_____________________ Size_________ Type: (Circle) RP : DC : DCDA : RPDA |
| If backflow prevention devices are installed on your plumbing/fire sprinkler system, it is required by the Pennsylvania Department of Environmental Protection that they be tested annually and copies of the test reports be maintained on file with the water company. If you do not have current copies of the test reports on file with us, please attach to this survey. Test report form can be found on our website at www.pennsylvaniaamwater.com. Select Ensuring Water Quality. |
| Signature |
| Signature of person completing this survey: | Date: |

Please return completed form for Virginia American Water or Maryland American Water by mail, email or fax to:

- By Mail: 2223 Duke Street, Alexandria, VA 22314  Attn. Cross Connection Department.

- Fax: 703-836-6652

- Email at va.md.ccc@amwater.com